| Subdivision (Stage) / Worksite: |  |
| --- | --- |
| Date of Inspection : |  |
| Location (Road Name & Chainage): |  |

| Category | Checklist Items | Reference | Yes | No | N/A | WCC – HP (add initial next to box) | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Safety & Environment | All Employees Inducted and signed onto SWMS. All environmental controls implemented as per the approved EMP. |  | □ | □ |  |  |  |
| Survey | Level pegs are to be established at adequate intervals with TOK level marked. |  | □ | □ | □ |  |  |
|  | Shape is in accordance with endorsed plans and FSL checked with string line / survey pickup. |  | □ | □ | □ |  |  |
| Hold Point | Proof roll passed with no soft spots. | IDM 12.7.14 | □ | □ |  | □ |  |
| Material | Subgrade is free from oversize floaters (more than 75mm) and surface rock. |  | □ | □ | □ |  |  |
|  | Subgrade is free from roots and other foreign material. |  | □ | □ | □ |  |  |
| Testing | All fill below road pavements has been compacted to 98% standard. Results presented to Council. Compaction Testing of the sub-grade is required in the following situations: - In fill sections (to raise the existing surface to finished subgrade level). - If subgrade improvements are implemented 200mm below finished subgrade level and improved with a granular material. | IDM 12.7.11 | □ | □ | □ |  |  |
| Service Trenches | Service and drainage trenches backfilled with class 3 crushed rock and compacted satisfactorily. | IDM SD310 | □ | □ | □ |  |  |
| Consent to Proceed to Next Stage? |  |  | □ | □ |  | □ |  |

Additional Comments:

| Contractor/Superintendent Name: | Signature: | Date: |
| --- | --- | --- |
| WCC Construction Supervisor Name: | Signature: | Date: |